## Slide 1: VFD “Like” DC Motor
Training Setup for Ignition Scada
Nicholas Robinson
15th May2020

## Slide 2: Hardware
Adafruit ESP32 Feather
  https://www.adafruit.com/product/3619
Adafruit Feather Motor
  https://www.adafruit.com/product/2927
DC motor
9V battery harness
LiPo battery (optional)

## Slide 3: Needed Arduino Libraries
Adafruit Motorshield V2 Library
  https://github.com/adafruit/Adafruit_Motor_Shield_V2_Library
Modbus-esp8266
  https://github.com/emelianov/modbus-esp8266

## Slide 4: Get IP Address from serial monitor
After programming and while connected to serial, press reset on the board and wait for the IP address to appear

## Slide 5: Gateway Device Settings

## Slide 6: Address Mapping

## Slide 7: User Data Type

## Slide 8: Control View
Current speed is not actual RPM, just for simulation
Slider is bound to Target Speed
Radio buttons with values 50, 25, and 1 are bound to Ramp Speed
Buttons are bound to run/stop and fwd/rev

## Slide 9: Report